CATALOG IDENTIFICATION_______________________  DATE OF CATALOG___________________

Note:  Please reference your completed CRP Form to determine which selections are appropriate.

I.   SEAL USAGE IN CATALOGS

1. Pick the correct AMCA Seal: [check all that apply]

Positive Pressure Ventilator Air Performance

2. Placement of AMCA Seal: [check all that apply]

If the catalog contains all licensed products, the seal and qualifying statement shall be prominently displayed either on the cover or in the catalog.

If the catalog contains both licensed and unlicensed products, the AMCA Seal and qualifying statement shall not be shown on the outside cover.

II.   QUALIFYING STATEMENT ADJACENT TO THE SEAL

In catalogs containing ratings of licensed products, the following statement shall be printed prominently and immediately adjacent to the reproduction of the AMCA Certified Ratings Seal as required by I.B:

"(Licensee's name as shown on License Agreement) certifies that the (product description) shown herein is (or are) licensed to bear the AMCA Seal.  The ratings shown are based on tests and procedures performed in accordance with AMCA Publication 211 and comply with the requirements of the AMCA Certified Ratings Program."

III.  CATALOG IDENTIFICATION REQUIREMENTS

Catalogs containing performance ratings of licensed products shall have a catalog identification reference (e.g. Catalog No. XXX Rev. 1), and unabbreviated current catalog date, (e.g. November 2004) on the outside front or back cover.

Where ratings are on separate sheets or on loose leaf that may be removed from the cover, each sheet or loose leaf shall be identified and dated as above.

IV.  REQUIREMENTS FOR AIR PERFORMANCE

1.  Duct Statement (Installation Type Testing Method)

Installation Method [this is different from the rating method; see test report for installation method; check one]

For all rating methods, one of the following statements shall be shown immediately adjacent to the rating tables, graphs and charts:

A		Performance certified is for installation type A – Free inlet, Free outlet.

B		Performance certified is for installation type B – Free inlet, Ducted outlet.

C		Performance certified is for installation type C – Ducted inlet, Free outlet.

D		Performance certified is for installation type D – Ducted inlet, Ducted outlet.

A & C	Performance certified is for installation type A & C – Free or ducted inlet, Free outlet.

B & D	Performance certified is for installation type B & D – Free or ducted inlet, Ducted outlet.

2.  Rating Method "J" (Direct Drive, PPV, As Run Speed)

The performance ratings for each model number shall include:

Airflow rate

Impeller speed

Setback distance

Tilt angle

Motor/engine manufacturer and model number (for all motors/engines listed for use on the PPV)

Required Statements:

Performance ratings include the effect of [list appurtenances here].

V.  ADDITIONAL REQUIREMENTS FOR POSITIVE PRESSURE VENTILATORS

Each PPV appurtenance(s) (accessories) assembly shall have a distinct model number different from one without appurtenance(s) (accessories) or with a different group of appurtenance(s) (accessories).

# Text boxes

CHECKLIST: POSITIVE PRESSURE VENTILATOR CATALOGS